Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	WATER SUPPLY AND SANITARY ENGINEERING                Time : 3 hours

Subject Code: 	CE279			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is the domestic demand?

2. 	Maximum daily demand = ________x average daily demand.

3. 	List some of the chemical coagulants used in coagulation.

4. 	What is the Pressure filter?

5. 	Write the classification of distribution system depending upon the methods of distribution.

6. 	Circular distribution is also called as _____________ system.

7. 	What is the sewer?

8. 	What do you mean by sedimentation?

9. 	What is the secondary treatment?

10. 	What do you mean by activated sludge process?

PART – B  (5 x 3 = 15 MARKS)

11. 	List any four factors affecting per capita demand.

12. 	What are the objectives of water treatment?

13. 	What are the factors affecting the pressure in a distribution system?

14. 	What is the detention period?

15. 	What are the advantages of trickling filter?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Explain the methods to estimate the bacterial quality of water.							(9)

b.	Explain the factors affecting per capita demand.										(6)

(OR)

17.	Explain the different population forecasting methods.

18.	Explain the components of water treatment plant with neat sketch.

(OR)

19.	Explain the working of slow sand filter with neat sketch.

20.	a.	Explain the different distribution system with neat sketches.							(9)

b.	What are the requirements of a good distribution system?								(6)

(OR)

21.	Explain the different types of storage reservoirs.

22.	a.	Compare the separate system and combined sewerage system.							(6)

b.	Explain the different patterns of collection system.									(9)

(OR)

23.	Draw the Layout of treatment plant and explain its components.

24.	Explain the working of trickling filter with neat sketch and also write its merits and demerits.

(OR)

25.	List the different types of activated sludge process. Explain any five types.