Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	EXPERIMENTAL TECHNIQUES					              Time : 3 hours

Subject Code: 	CE373			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Explain in detail the non destructive testing method available to evaluate the existing concrete structures. Explain any rebound hammer test and ultrasonic pulse velocity test.

(OR)

2.	a.	How will you determine the cement content and water / cement ratio in

hardened concrete. 															(12)

b.	List the factors that affect the measurement of pulse velocity.						(8)

3.	a.	Give the working principle and measurement of strain in electrical resistance strain gages.

Also explain its types.															(15)

b.	Write a note on unbonded resistance strain gages									(5)

(OR)

4.	a.	What is meant by strain gauge rosette? How is it used?							(10)

b.	A rectangular rosette is mounted on a steel plate having E=29X106 psi and µ=0.3. The three strains are measured as

ε1= 500 µ in/in

ε2= 400 µ in/in

ε3= -100 µ in/in

Calculate the principal strains and stresses and the maximum shear stress. Locate the axis of principal stress.																(10)

5.	Compulsory:

a.	Explain the experimental procedure to find modulus of rupture for RCC beams.		(8)

b.	Define creep. How will you measure creep?										(8)

c.	Briefly explain the Whitney’s Ultimate load theory to find the Ultimate strength of actual beams. 																		(4)

6.	Write short notes on:																(5+15)

a.	Principles behind the operation of UTM		b.	Transducers and its types

(OR)

7.	With the aid of sketches explain the working principles of LVDT and its application  in concrete structures.

8.	Define Oscilloscope. Explain its working principles and its types

(OR)

9.	a.	Explain the data acquisition system												(12)

b.	Briefly explain the various aspects of shake table.								(8)