Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	MEASUREMENTS AND INSTRUMENTATION		              Time : 3 hours

Subject Code: 	EC236			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The error observed when the instrument is under the reference condition is termed as the ________________error.

2.	_________ and ______________ are very high in Electronic Weighing System.

3.	______________ is an instrument designed to measure the relative amplitudes of single-frequency components in a complex or distorted waveform.

4.	Ratio of the average value of the pulse over one cycle to the peak value of the pulse is called as ______________.

5.	Absolute accuracy of DVM is as high as __________% of the reading.

6.	Effect of leakage paths on the measurement are usually removed by some form of ___________ circuit.

7.	Deflection on the CRT screen (in meters) per volt of deflection voltage is known as __________.

8.	Second electron gun in a storage tube is called as _______________.

9.	Status determination, clear and reset functions are known as ________functions.

10.	______________ is a device used in computer controlled instrumentation which replaces electromechanical relays.

PART – B  (5 x 3 = 15 MARKS)

11.	Define primary standards and secondary standards.

12.	What is reciprocal mixing with respect to spectrum analysis?

13.	What are the applications of vector voltmeter?

14.	What is secondary emission? Define secondary emission ratio.

15.	Draw a simple block diagram which is used to test a radio receiver in a computer controlled measurement system.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	What is the difference between accuracy and precision? Explain three general classes of

errors.							                     								(3+6)

b.	Explain in detail the following:-

i) Instrumental error

ii) Calibration error

iii) Environmental error

iv) Probable error. 														(6)

(OR)

17.	Draw and explain the circuit of a Kelvin double bridge with necessary equations which is used for the measurement of very low resistances.

[P.T.O]

18.	What is a function generator? Explain basic elements of a function generator with a neat

diagram.

(OR)

19.	a.	Draw and explain functional block diagram of the tuned circuit harmonic distortion

analyzer. 								                       					(11)

b.	State some applications of spectrum analyzer. 				             			(4)

20.	Explain staircase-ramp type DVM with a block diagram.

(OR)

21.	With a neat block diagram, explain the working of a vector voltmeter.

22.	What are the major blocks of an oscilloscope and what does each do?

(OR)

23.	How does the digital storage oscilloscope differ from the conventional storage oscilloscope using a storage cathode ray tube? Explain the working of a DSO with a neat block diagram.

24.	What are the three requirements of an automatic test system? Explain how an audio amplifier is tested in a computer-controlled measurement system.

(OR)

25.	Explain with any two suitable examples, instruments used in computer - controlled instrumentation.