Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	ELECTRIC CIRCUIT ANALYSIS AND NETWORKS              Time : 3 hours

Subject Code: 	EC281			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Voltage sources in series can be replaced by a single source, provided care to taken to note the _	________of each source.

2.	Kirchoff’s Voltage Law (KVL) asserts that the _________around any closed loop in zero.

3.	Impedance offered by the parallel circuit at resonance is called __________.

4.	Quality factor of R-L-C series circuit is the _________in the circuit at resonance.

5.	In Mesh analysis the key variable are the _________, and KVL is written around all meshes.

6.	In an ideal transformer, the _________is taken to be unity.

7.	Thevenin's Theorem is not applicable to _________networks.

8.	Power transfer will be maximum with respect to variable RL and fixed XL when, ________.

9.	___________is the indication of the opposition from the circuit to cause oscillations in its response.

10.	Forcing function contributes only to the ________of the natural (source – free) response.

PART – B  (5 x 3 = 15 MARKS)

11.	Differentiate between Dependent and Independent Sources.

12.	For series resonant circuit, the resonant Frequency in the geometric mean of two half power frequencies. Justify.

13.	When is super mesh analysis used?

14.	A voltage source has an internal impedance (4 + j5) . Find the load impedance for maximum power transfer and justify.

15.	With reference to a series R – L network applied with a constant excitation voltage (V) through a switch K instantaneously. What do you understand by the terms forced and free response given by the circuit to excitation?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Two batteries A and B having EMF of 209V and 211V having internal resistance 0.3 and

0.8 respectively are to be charged from a DC source of 225 V. If for that purpose they were connected in parallel and resistance of 4 was connected between the supply and batteries to limit charging current, find (i) magnitude and direction of current through each battery. (ii) power delivered by source.											(7 ½ )

b.	Using source transformation, find the power delivered by the 50V voltage source shown in

fig.1																		(7 ½ )

3

2

10A

5

Fig. 1

50V

10V

(OR)

17.	a.	Find the current in each resistor in Fig. 2 using network reduction method.		(7 ½ )

2

6

3

+

-

4

Fig. 2

25V

4

4

4

b.	A wheat stone bridge consists of the following resistances. Branches AB = 3, BC = 6, CD = 12  and DA = 10. A 2v cell is connected between points B and D and galvanometer of resistance 20 is connected between A and C. Find the current through galvanometer by Kirchoffs laws. 										(7 ½ )

18.	a.	An inductive coil of resistance 10 an inductance 0.1 H is connected in parallel with a

150F capacitor to a variable frequency, 200V supply. Find the resonant frequency at which the total current taken from the supply is in phase with the supply voltage and also the magnitude of this current.												(7 ½ )

b.	A constant voltage at a frequency of 1 MHz is applied to an inductor in series with a

variable capacitor. When the capacitor is set to 500 PF, the current has its maximum value, which it is reduced to one half when capacitance is 600 pF. Find: (i) the resistance, (ii) the inductance and (iii) the ‘Q” Factor of the inductor.						(7 ½ )

(OR)

19.	a.	A 100 resistor and a 20 mH inductor are connected in series across a 230 V, 50 Hz supply.

Find circuit impedance, admittance, current, voltage across resistance, voltage across inductor, apparent power, active power and power factor. 					(7 ½ )

b.	A series RLC circuit consists of a resistance of 1 k and an inductance of 100 mH in series

with capacitance of 10 pF. If 100V is applied as input across the combination. Determine, (i)

the resonant frequency (ii) maximum current (iii) ‘Q’ factor and (iv) Half power frequencies.															(7 ½ )

20.	a.	Determine the Node voltage for the network shown in fig. 3 by nodal analysis.



+ -

4A

10V

- +

5



9A

6V

Fig. 3

4

10

b.	Using mesh analysis, find current through 4 resistor shown in Fig.4.

2

5V

4

5

Fig. 4

20V

6

3

5V

(OR)

21.	a.	Find the node voltages in the circuit of Fig. 5 using Nodal Analysis and also verify whether

is it reasonable or expected?													(7 ½ )

-3A



7

Fig. 5

3

4



5



-8A

1

-25A

b.	Using the technique of mesh analysis, determine the three mesh currents in Fig. 6.	(7 ½ )

1

+

-

3

2

7V

Fig. 6



7A

1

2

22.	a.	State and explain super position theorem in detail.								(5)

b.	Find the current through the resistance of 2 using millman’s theorem as shown in Fig. 7.(10)

5

j4

3

+

-

+

-

Fig. 7

2

100

2590V

(OR)

23.	a.	State and explain Maximum power Transfer Theorem. Also prove the same for the network

shown in Fig. 8																(7 ½ )

Zeq = R+jx

+

-

Fig. 8

VTH

ZL = RL+jxL

b.	Using super position theorem find VAB  in Fig. 9.

4V

- +

2



Fig. 9

2A

+  -

B

4

2

A

24.	A series RL circuit with initial current Io in the inductor in connected to a DC voltage V at t = 0. Explain with neat sketches and derive expression for the instantaneous current through the inductor for t > 0. Also derive the expression of voltage generated across inductor with comments.

(OR)

25.	Explain in detail, derive the expression for the instantaneous current through series R – L – C circuit excited by an AC source under over damped, under damped and critically damped conditions with comments.