Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	MEDICAL SYSTEMS AND SIGNAL PROCESSING	              Time : 3 hours

Subject Code: 	EC320			         						               Maximum Marks: 100

#### Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Draw the structure of cell membrane and explain the electrical activity of nerve and muscle cells of human body. 															(15)

b.	Discuss the propagation of action potentials.										(5)

2.	a.	Explain the ECG measuring methods with necessary diagrams.	   				(15)

b.	Draw the ECG waveform and mention its features. 								(5)

(OR)

3.	a.	Write short notes on electro conduction system of the heart.						(10)

b.	Explain the operation of vector cardiography.									(10)

4.	a.	Draw the anatomy of the nervous system and explain its components.				(15)

b.	Briefly discuss neuronal communication. 										(5)

(OR)

5.	a.	Define evoked potential														(3)

b.	Explain the origin of EEG signal with waveform									(7)

c.	Explain the functions of central and peripheral nervous system						(10)

6.	a.	How to find the k-nearest rule?						              						(10)

b.	Discuss how to minimize entropy.												(10)

(OR)

7.	a.	Derive the representation of generalized linear discriminant functions.				(12)

b.	Explain the direct feature selection and ordering with necessary equations.			(8)

8.	a.	Draw the structure of least mean square adaptive filter.							(5)

b.	Explain how adaptive noise canceller is useful for the elimination of power

line interference in ECG														(15)

(OR)

9.	Write short notes on:						                    	    						 (10+10)

a.	Matched filtering					b.	Template adaptation