Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	BASIC ELECTRICAL ENGINEERING				              Time : 3 hours

Subject Code: 	DEE101 / EE101	         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	According to ______________Law, the D.C generator is working.

2.	In D.C. generator, which one converts the alternating current into Direct current?

3.	What is Form factor?

4.	What is Peak factor?

5.	What is insulator?

6.	Give any one disadvantage of cables.

7.	Will the motor start with the field excited?

8.	Under which conditions a synchronous motor will fail to pull into step?

9.	What are the two types of Moving Iron Instruments?

10.	What is Earthing?

PART – B  (5 x 3 = 15 MARKS)

11. 	What are the applications of D.C. generator?

12. 	What are the applications of synchronous generator?

13. 	What are the classifications of Transmission lines?

14. 	What is Universal motor?

15. 	What is Stair case wiring?

PART – C  (5 x 15 = 75 MARKS)

16. 	Derive the EMF equation of a Generator.

(OR)

17. 	With neat diagram, explain the construction and working of D.C. generator.

18. 	With neat diagram, explain the construction and working principle of core type and shell type Transformers.

(OR)

19. 	Explain the principle of operation and phasor diagram for a Salient pole synchronous generator.

20. 	With neat diagram, explain Thermal power generating station. Give its Merits and Demerits.

(OR)

21. 	With neat diagram, explain any four AC distribution system.

22. 	With neat diagram, explain the characteristics of D.C. series and shunt motor.

(OR)

23.	Draw and explain the equivalent circuit of single phase induction motor with and without core loss.

24. 	Explain with neat diagram Dynamometer type wattmeter and its advantages.

(OR)

25. 	With neat diagram, explain the construction of permanent magnet type Instruments and derive its deflecting torque.