Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	SYNCHRONOUS AND INDUCTION MACHINES	              Time : 3 hours

Subject Code: 	EE209			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Mention the types of rotors in an alternator.

2.	What is the meaning of electrical angle?

3.	Write the expression for synchronizing current.

4.	Two alternators 1 and 2 are running in parallel what will happen when the excitation of 1 is increased?

5.	Does the speed of the synchronous motor change when loaded?

6.	What is synchronous condenser?

7.	What is the principle of operation of 3 phase induction motor?

8.	Mention some advantages of slip ring induction motors.

9.	Write the principle of working of Linear Induction motor.

10.	Write the applications of split phase (Resistance type) single phase induction motor.

PART – B  (5 x 3 = 15 MARKS)

11.	Define voltage regulation of an alternator. How will be the regulation values under loaded condition?

12.	What is the necessity of parallel operation of alternators?

13.	Explain any one method of starting a synchronous motor.

14.	Why starter is necessary to start 3 phase induction motor? List the types of starters.

15.	What is Magnetic levitation?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Derive the emf equation of an alternator.									(8)

b.	Discuss about the armature reaction of an alternator.							(7)

(OR)

17.	With step by step procedure explain the synchronous impedance method to predetermine the regulation of an alternator.

18.	Describe briefly alternator synchronizing procedure.

(OR)

19.	Discuss two reaction theory for analyzing salient pole synchronous machine.

20.	What are ‘V’ curves? How are they determined experimentally?

(OR)

21.	a.	Write short notes on power factor improvement with synchronous motors.		(8)

b.	Write short notes on hunting and method of suppression.						(7)

22.	a.	A 3 phase 4 pole 50 Hz induction motor is running at 1440 r.p.m. Determine the slip speed

and slip.																(4)

b.	Describe the construction and working of 3 phase induction motor.				(11)

(OR)

23.	How would you determine the circle diagram of a 3 phase induction motor experimentally?

24.	Describe the construction working and applications of capacitor start and run single phase induction motor.

(OR)

25.	Describe the construction working and applications of Linear Induction Motor.