Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	ELECTRIC CIRCUITS AND NETWORKS			              Time : 3 hours

Subject Code: 	EE236			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The number of branches in a tree is -------------- the number of branches in a graph.

2.	The tie set schedule gives the relation between

(a).branch currents and link currents     (b). branch currents and link voltages.

3.	Reciprocity theorem is applicable to

(a).bilateral networks only     (b). linear/bilateral networks

4.	Super position theorem is not valid for

(a).current response    (b). power response

5.	The time constant of RC circuit is -----------.

6.	Transient current in RLC circuit is oscillatory when

(a).      (b).

7.	The case for which the coefficient of coupling K = 1 is called perfect coupling

(a).true    (b). false

8.	In a three phase system, the volt ampere rating is given by

(a).     (b).

9.	Which parameter is widely used in transmission line theory?

10.	An ideal filter should have ---------- attenuation in the pass band.

PART – B  (5 x 3 = 15 MARKS)

11.	State and explain method of mesh analysis.

12.	Three equal resistance of 5 ohm are connected in delta. What is the resistance in one of the arms of the equivalent star circuit?

13.	Obtain the time constant for RL circuit.

14.	Calculate the total power input and readings of the two wattmeters connected to measure power in a three-phase balanced load, if the reactive power input is 15 KVAR and the load pf is 0.8.

15.	Find the values of L and C for a low pass filter. The filter has cut-off frequency of 2.5 kHz to operate with a terminated load resistance of 450 ohms.

PART – C  (5 x 15 = 75 MARKS)

16.	Draw the graph of the network shown in Figure 1 select a tree and write the tie-set matrix..

A

R1

R2

R3

R5

Fig.1

R4

R67

+

-

B

C

[P.T.O]

V

(OR)

17.	Use nodal analysis to find the power dissipated in the 6 ohm resistor for the circuit shown in Figure 2 .

1

3

1

6

2

3

2

+

5

5A

Fig.2

20V

-

18.	Determine the equivalent resistance by using star-delta transformation for the network shown in Figure 3.

6

4

5

3

Fig.3

4

8

10

Req

(OR)

19.	Using mesh analysis, determine the voltage Vs which gives a voltage of 300o V across the

30 ohm resister shown in Figure 4.

5



60∠30∘

j4

-j5

-30

Fig.4

Vs

4

j8



50∠0∘

20.	For the circuit shown in Figure 5, determine the total current delivered by the source when the switch is closed at t = 0. Assume no initial charge on the capacitor.

S

5

1F

Fig.5



i1

i2

10e-t

10

(OR)

21.	A series RL circuit with R = 30 ohm and L = 15 H has constant voltage V= 60 applied at

t = 0. Determine the current, the voltage across resistor and inductor.

22.	Explain single tuned and double tuned coupled circuits with mathematical relations.

(OR)

23.	Explain the power measurement by two wattmeter method.

24.	Explain the series and parallel connection of two port networks.

(OR)

25.	Design m-derived high pass filter with cut-off frequency of 10 kHz; design impedance 5 ohm and m = 0.4.