Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	BIOMEDICAL INSTRUMENTATION				              Time : 3 hours

Subject Code: 	EE265			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The process of changing from resting state to the active state in a cell is called __________.

2.	The processing element of nerve cell is ___________ (Dendrite / Axon / Soma)

3.	pH electrode is used for measuring _______________

4.	State the function of Oximeter.

5.	The process of removing waste products from the blood is called __________

(Diathermy / Dialysis)

6.	What is a Nerve stimulator?

7.	Micro shock occurs, when range of current increases to __________.

8.	___________is based on the color of chemical substances.

9.	___________is a non invasive medical imaging technique. (Ultrasound / x-rays)

10.	List two applications of angiography.

PART – B  (5 x 3 = 15 MARKS)

11.	List the EEG rhythms and their frequency range.

12.	Define cardiac output. How is it measured?

13.	Name the equipments required for a centralized Patient Monitoring System.

14.	What is a Spectrophotometer?

15.	What are the hazards of CAT imaging?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Explain the cardiovascular system and generation of ECG signal with neat diagram.	(10)

b.	Draw the EMG recording setup and briefly discuss.								(5)

(OR)

17.	Explain the electrical activity of the brain and the EEG recording system with 10 – 20 electrode setup.

18.	a.	With neat diagram explain any two physiological transducers.						(8)

b.	Discuss how spirometer can be used to measure the respiratory parameters.			(7)

(OR)

19.	Explain the ultrasonic blood flow meter.

20.	Write short note on:																(8+7)

a.	Defibrillator			b.	Microwave diathermy

(OR)

21.	Write short note on:

a.	Heart Lung machine		b.	Laparoscopy										(8+7)

[P.T.O]

22.	Enumerate on the various factors that risk the patient safety and discuss the methods to overcome.

(OR)

23.	a.	Explain the operation of Gas chromatograph.									(8)

b.	Draw the pCO2 electrode and discuss its features.									(7)

24.	a.	Describe the working of real time ultrasonic imaging system with neat diagram. What are its

biological effects.																(10)

b.	What is vector cardiography? What are its applications?							(5)

(OR)

25.	a.	Discuss the working of Gamma camera.											(5)

b.	Explain the principles of Biotelemetry system.									(10)