Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	POWER ELECTRONICS IN WIND AND SOLAR POWER CONVERSION																	              Time : 3 hours

Subject Code: 	EE313			         						               Maximum Marks: 100

#### Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Define Solar Constant. What is the standard value of Solar Constant?		      		(4)

b.	What is the principle of photovoltaic power generation? What are the main elements of PV system?										       								(8)

c.	What are the advantages and disadvantages of photovoltaic solar energy conversion?   (8)

2.	a.	Describe any one “Maximum Power Point Tracking Algorithm”.		                 	(10)

b.	Explain the function of line-commuted inverter in the grid connected PV systems.	(10)

(OR)

3.	a.	Describe with a block diagram the various components of a stand-alone PV system.   (10)

b.	What are the main applications of solar PV systems? Describe briefly.		     		(10)

4.	a.	Derive the expression for power developed due to wind.				       			(8)

b.	Define the power coefficient of a wind turbine. What is its maximum value?	       		(5)

c.	Find out the maximum power that can be generated by a wind turbine of 10m diameter at a wind velocity of 10m/sec.								       						(7)

(OR)

5.	a.	Briefly describe the basic components of wind energy conversion system.		     (10)

b.	Explain the performance of Induction Generator in WECS. What are the advantages and disadvantages?										     						(10)

6.	a.	Explain the theory of Self-excitation of induction generators.			     			(10)

b.	Discuss the procedure for determining the minimum value of capacitance required for self-excitation.										     							(10)

(OR)

7.	a.	Explain with neat diagram connection of WECS with the grid.			     			(10)

b.	Explain the reactive kVAR requirement of a grid connected induction generator. Suggest a method of PF improvement.								     					(10)

8.	a.	Describe with a block diagram a stand-alone wind / solar PV integrated system and its

operation.											     						(10)

b.	Explain the philosophy of selecting the relative sizing of the systems.		     		(10)

(OR)

9.	a.	Discuss various methods of energy storage for wind and solar power systems.           	(10)

b.	Analyse the role of power electronics in wind and solar power generation.		     	(10)