Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	EMBEDDED CONTROLLER APPLICATION IN POWER ELECTRONICS																	              Time : 3 hours

Subject Code: 	EE314			         						                Maximum Marks: 100

#### Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

Draw the block diagram of a chopper based speed control of the DC motor using microprocessor. Explain the control architecture and algorithm involved.

2.	Draw the architecture of Intel 8085 and explain the features. Explain the interfacing of LED to 8085 using 8255.

(OR)

3.	Explain the difference between minimum and maximum modes of 8086. Explain the interfacing of ADC with 8086.

4.	What are the different types of pulse width modulation techniques used in power electronics? Explain the implementation of them in a microprocessor based system with related software and hardware.

(OR)

5.	Explain the speed control of Induction motor using variable frequency method in an inverter. Describe the method of implementation of the same in a microprocessor.

6.	Explain how voltage and current in a DC drive system can be sensed and controlled using a microprocessor based system.

(OR)

7.	Define power factor. What is the need for controlling or improving power factor? Explain the technique of microprocessor based method for power factor improvement.

8.	What is a UPS? Where is it used? Explain the various types of UPS and describe its’ function. Justify the use of microprocessor in the UPS systems.

(OR)

9.	What are synchronous generators? Explain with neat diagram the control of synchronous generators. Explain the control of the same using static circuits and processors.