Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	DIGITAL INSTRUMENTATION					              Time : 3 hours

Subject Code: 	EE315			         						               Maximum Marks: 100

#### Answer ALL questions (5 x 20 = 100 Marks)

1. 	Compulsory:

a.	Draw the block diagram of a digital data acquisition system and explain.			(15)

b.	Give the uses of digital data acquisition system.									(5)

2. 	Design a modulo 5 counter .Give the truth table, pulse diagram and explain.

(OR)

3.  	Discuss about the various memory devices.

4. 	Draw the block diagram for multiple period measurements and explain its working with signal

flow diagram

(OR)

5. 	a.	Discuss the inherent errors in digital system.										(10)

b.	Explain the hidden errors in conventional AC measurements.						(10)

6.	 What is a filter? Explain different types of filters.

(OR)

7. 	Explain with neat sketch wireless base and mobile station.

8. 	Describe about the special function add on cards in detail.

(OR)

9. 	Discuss about the interfacing of instruments with IEEE 488 bus.