Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	FLEXIBLE AC TRANSMISSION SYSTEMS			              Time : 3 hours

Subject Code: 	EE323			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Explain with a neat sketch, the principle of operation of phase angle regulator and its applications.

(OR)

2.	With a neat sketch explain the principle of operation of TCSC and draw its characteristics.

3.	Compulsory:

With a neat sketch, explain the modeling and control of TCSC for SSR applications.

4.	Explain the principle of operation of VPFC and also explain how the power transfer capability can be improved with the help of UPFC.

(OR)

5.	With neat sketch, explain how real and reactive power can be controlled using UPFC.

6.	What is meant by variable structure Series Capacitor Control? Discuss its applications.

(OR)

7.	Schematically explain the variable reactance model of TCSC for power system transient stability enhancement.

8.	Explain the performance of SVC in controlling voltage in a power system.

(OR)

9.	Write short notes on:

a.	Saturated reactor (SR)		b.	Thristor Switched Reactor (TSR)