Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	PROCESS DYNAMIC AND CONTROL				              Time : 3 hours

Subject Code: 	EI210			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The term used to describe any condition, national or artificial, by which a physical quantity is regulated is called ______.

2.	When mathematical model is developed for thermal system ________parameter is used as reference.

3.	The integral mode was characterized by an equation p(t) =

4.	The standard test signals used are ________, ________and ________.

5.	In general the term ______is used to indicate how a process control is adjusted to provide the best control.

6.	Although the single variable control loop is widely used in a process control, we often must account for _______effects between variables.

7.	A fluid throttling control valve can’t operate with minimum ________head.

8.	The flow of a liquid through a fully opened control valve is given by an equation m=_________.

9.	________process is widely used in chemical and petrochemical plants.

10.	Carbon monoxide measurement is ________of fuel and boiler load.

PART – B  (5 x 3 = 15 MARKS)

11.	What are the elements of the process control?

12.	What are the characteristics of “On-OFF”?

13.	Explain the term tuning of controller.

14.	Define actuators.

15.	Define reflux ratio.

PART – C  (5 x 15 = 75 MARKS)

16.	Draw the block diagram of the heat exchanger system using the mathematical model.

(OR)

17.	With neat diagram and the graphical representation explains the principle of self regulation.

18.	With neat diagram and the graphical representation explains the three action of pneumatic controller for a typical control scheme for pressure.

(OR)

19.	Define propositional control and derive the equation for propositional sensitivity. Ke. What will be the value of Ke for a system that has an output m changing linearly from 0 to 15 psi when the deviation ‘e’ changes from -100 to 0 to +100 degree?

20.	Write short notes on:	a.	Cascade Control		b.	Feed Forward control

(OR)

21.	In an application of Ziegler – Nichols Method a process begins oscillation with a 30% propositional band in an 11.5 minute period. Find the nominal three – mode controller setting, propositional – integral mode and propositional mode.

22.	Sketch a pneumatic spring type actuator, label its part and explain its working.

(OR)

23.	With neat sketch state the different types of valves and their services.

24.	Explain with neat sketch the commonly adopted techniques of boiler control. In what situations are these control schemes used.

(OR)

25.	Draw the control schemes of a distillation column for constant bottom product rate and constant reflux rate. What are its advantages?