Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	BIOMEDICAL INSTRUMENTATION				               Time : 3 hours

Subject Code: 	EI216			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Give an example for voluntary muscles.

2.	Mention the function of placenta.

3.	What is lamberts-beer law?

4.	What will happen when the pressure is too low?

5.	What is hermostasis?

6.	The heart pumps about ___________ of blood per minute.

7.	Mention the devices to protect against electrical hazards.

8.	What is the range of po2 in partial blood?

9.	Why MRI is called as a noninvasive imaging technique?

10.	What are radio capsules?

PART – B  (5 x 3 = 15 MARKS)

11.	What is the function of neuro physiology?

12.	Mention the factors to be considered while designing any medical instrument.

13.	Classify external defibrillators?

14.	What are micro shock hazards? Why it occurs?

15.	What are the uses of vector cardiograph?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	What are bioelectric potentials? Discuss the frequency and voltage range of

ECG,EEG, EMG and ERG signal?

b. 	Give an account on the different chemical compositions in the intra and extra cellular fluids

and their effects in the case of blood serum.

(OR)

17.	a.	What are the different types of muscles? Explain the importance of motor unit in the

muscular contraction.

b. 	Discuss the different ways of transport of ions through cell membrane.

18.	Discuss briefly the indirect method of measuring the blood pressure.

(OR)

19.	Write a detailed mote on:

a.	Cardiac output measurement 			b.	Oximeter

20.	Discuss briefly the

a.	Anesthesia machine and          b.	 Dialyzer

(OR)

[P.T.O]

21.	a. 	Distinguish between internal and external pacemakers

b.	Give the typical ranges of pacemaker parameters.

22.	a.	Describe a line isolation monitor circuit providing electrical safety during the working of

medical equipment.

b.	Describe a flame photometer with a suitable diagram.

(OR)

23.	a.	Describe the principle of Digital pH meter.	b. 	Explain briefly the liquid chromatography.

24.	a. 	Describe briefly the cardiac catheterization Lab.

b.	Explain the principle of Echocardiograph.

(OR)

25.	a.	Draw a circuit which is used to transmit physiological variables and explain it.

b.	What are the problems associated with the implant telemetry circuit? Discuss the uses of biotelemetry.