Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	MEASUREMENTS AND INSTRUMENTATION		               Time : 3 hours

Subject Code: 	EI219			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1. 	What is meant by dynamic characteristics?

2.   	Define static error or error.

3.  	Give two examples for resistive transducer.

4.  	Mention the relationship between temperature and resistance.

5.	 ------------------- filter is called as notch filter.

6.  	Define conversion time of an ADC.

7.   	List any two advantages of the LED.

8.   	Mention the different types of LCD.

9.   	Define viscosity

10. 	Name the different types of DC voltmeters.

PART – B  (5 x 3 = 15 MARKS)

11.	Define primary calibration.

12. 	List the factors for the selection of transducer.

13. 	Draw the block diagram of counter ramp ADC.

14. 	Mention the advantages of magnetic tape recorder.

15.  Give the precautions to be taken for the use of an ammeter.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain in detail about the functional elements of an instrument.

(OR)

17.	Describe the different types of standard followed in the measurement system.

18.	Explain the operation of a capacitive transducer.

(OR)

19.	Explain the operation of a Digital transducer.

20.	With a neat block diagram explain the operation of an instrumentation amplifier.

(OR)

21.	With necessary circuit diagram, discuss the operation of the V to I converter.

22.   With suitable diagram describe the function of CRT display.

(OR)

23.	Explain with a block diagram the function of a Digital storage type CRO.

24.	Discuss the function of a digital voltmeter.

(OR)

25.	Explain the operation of an Efflux type viscometer.