Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	INSTRUMENTATION AND CONTROL SYSTEM	              Time : 3 hours

Subject Code: 	EI222			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is the use of Transducer?

2.	Mention any two static characteristics of a measuring system.

3.	What is the unit of Pressure?

4.	________________ is a positive temperature coefficient device.

5.	Hygrometer is used for ________________ measurement.

6.	Define Gauge Factor.

7.	Give Mason’s Gain Formulae.

8.	Define Corner frequency.

9.	The closed-loop transfer function of a system is C(s)R(s)=s−2(s+1)(S+3)(S+4). The system is

a. Stable	b. Unstable	c. Marginally stable	d. Conditional stable

10.	What is impulse response of a system?

PART – B  (5 x 3 = 15 MARKS)

11.	Mention the three main functional elements of the measurement systems.

12.	What are the types of Bourdon tubes?

13.	Define Viscosity.

14.	Define Transfer function of a system.

15.	Give the types of damping ratio.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the elements of a generalized measurement system and also describe the functional    elements of an instrumentation system.

(OR)

17.	Give short notes on the types of Errors of measurement.

18.	a.	Explain the operation of Optical Pyrometer with neat sketch.			       			(10)

b.	Give the different forms of construction of Thermistor.			       				(5)

(OR)

19.	a.	Explain the operation of RTD with neat sketch.				       					(10)

b.	Draw and explain the Resistance-Temperature Characteristics of Thermistor.       	(5)

20.	Describe the working of the Unbonded Strain Gauge and its measuring circuit using Wheatstone bridge.

(OR)

21.	Explain the principle, operation and construction of a Wheatstone bridge.

[P.T.O]

22.	a.	Differentiate Open and Closed Loop system 					         				(5)

b.	With neat sketch explain any one application for open and closed loop system.     	(10)

(OR)

23.	Give short notes on Proportional, Derivative and Integral Control.

24.	Sketch the polar plots of the transfer function given below. Determine whether these plots     cross the real axis. If so, determine the frequency at which the plot cross the real axis and the corresponding magnitude |G(jω)|                            G(s) = 1 / [(1+s)(1+2s)]

(OR)

25.	By means of the Routh criterion, determine the stability of the system represented by the

following characteristic equations s5 + s4 + 24s3 +48s2 – 25s – 5 = 0.  If the system found to be unstable, determine the number of roots of the characteristic equation in the right half of the       s-plane.