Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	INSTRUMENTATION AND CONTROL IN PETROCHEMICAL INDUSTRIES													             						Time : 3 hours

Subject Code: 	EI225			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The __________in a process control loop that evaluates ________of the controlled variable and initiates corrective action by a signal to the controlling variable.

2.	_________pressure is the difference between the ________and the atmospheric pressure.

3.	Amplifiers with __________input impedance and _______output impedance are known as differential as instrumentation amplifier.

4.	_____is to wash out or remove by __________.

5.	_______refers to the application of instruments for _________.

6.	_______represents a condition of either a steady – state or transient oscillation of a signal _______the nominal value.

7.	_______velocity is expressed as the distance the liquid travels in the carrier per ____ time

8.	Bourdon tube is used for __________   ________.

9.	_______is the term applied to processes which remove or reduce the ________of water.

10.	Sodium – cation – exchange  process is ______employed for ______water.

PART – B  (5 x 3 = 15 MARKS)

11.	Design a distillation equipment and bring out the functioning of each element utilized in the design.

12.	What is meant by batch reactor. Sketch a Batch Reactor.

13.	Sketch a steam heater. Mention its variables, defining parameters, degrees of freedom, the expression which states the conservation of energy.

14.	What does a condenser do? Show a schematic for a horizontal condenser with coolant on the tube side.

15.	What are flow regimes commonly used in the treatment of waste water.

PART – C  (5 x 15 = 75 MARKS)

16.	With a neat flow diagram, discuss the principle of operation of “column pressure control utilizing lowered condenser”.

(OR)

17.	With a neat flow diagram, discuss the principle of operation of “column pressure control by throttling condenser water.

18.	Cascade temperature control system with heating and cooling capability. Discuss with a flow chart.

(OR)

19.	Continuous control of reactor pressure: Discuss with a flow chart.

[P.T.O]

20.	By-pass control on steam – heated exchanger : With a flow  chart describe the principle of operation of such a exchanger.

(OR)

21.	Pumping traps: With a neat flow diagram, discuss its salient features.

22.	Under control of evaporators, discuss in detail with flow diagram “feed back control system”.

(OR)

23.	Design a cascade control of Evaporator system and discuss.

24.	Continuous oxidation of cyanide waste with chlorine. (Here influent has continuous constant flow rate and variable quality): Discuss with a neat flow diagram.

(OR)

25.	Acid waste neutralization system: Discuss with a neat flow diagram.