Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	ULTRASONIC INSTRUMENTATION				              Time : 3 hours

Subject Code: 	EI229			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Wavelength of ultrasonic waves is ____________and less.

2.	Attenuation of ultrasonic waves in air is due to ___________, ___________and ________.

3.	____________is a ferro magenetic material.

4.	What is Fresnel zone?

5.	Rayl is a unit of ________.

6.	Amplitude of ultrasonic wave used in medical application is usually measured in _______.

7.	__________is a method used to measure velocity of sound.

8.	What is an acoustic log?

9.	List one medical application of ultrasonic wave.

10.	What is A – SCAN method?

PART – B  (5 x 3 = 15 MARKS)

11.	Define Acoustic Intensity.

12.	What do you understand by piezo electric effect?

13.	What is pulse super position method? List its merits.

14.	Define acoustic impedance.

15.	Why is it not possible to get a good record in case of elderly patients?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Write notes on absorption and dispersion of ultrasonic waves.						(10)

b.	List the characteristics of ultrasonic waves.										(5)

(OR)

17.	a.	Discuss about reflection and transmission of sound at a boundary.					(8)

b.	Explain briefly about Rayleigh waves.											(7)

18.	What is Magnetostriction effect? What are the factors affecting it. Explain the construction, working merits and demerits of a magnetostriction generator.

(OR)

19.	Explain the operation of a piezo-electric oscillator with a neat diagram. List its merits and demerits.

20.	Write note on:		a.	Pulse echo method			b.	Transit time method.			(8+7)

(OR)

21.	Explain in detail the ultrasonic methods of flow detection.

22.	List the methods available for measuring velocity of sound in solids and explain any two in detail.

(OR)

23.	Explain the ultrasonic method of measuring thickness using neat diagram wherever required.

24.	a.	Explain in detail the acoustical holography.										(5)

b.	With a neat diagram explain the transcutaneous Doppler flow detectors.				(10)

(OR)

25.	Explain in detail the ultrasonic blood pressure measurement. Draw the pneumatic system block diagram for ultrasonic pressure monitor and discuss.