Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	MEASUREMENT SYSTEMS						              Time : 3 hours

Subject Code: 	EI234			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What are the two types of moving iron instruments?

2.	Write an equation for three phase power in a system by using two watt meter method.

3.	Give two names of circuits used for the measurement of capacitance?

4.	Write an expression for transformation ratio of current transformer?

5.	Write any two advantages of electronic voltmeters?

6.	Which waveform is generated by weinbridges oscillator?

7.	Give two advantages of digital transducers?

8.	Give an expression for THD?

9.	Which signal is used as time base signal in CRO?

10.	Write any one type of sweep signal used in CRO?

PART – B  (5 x 3 = 15 MARKS)

11.	What are the different types of errors that may occur in moving iron instruments?

12.	Draw the phasor diagram of current transformer?

13.	What are the applications of wave analyzers?

14.	Write the features of digital method of measuring displacement?

15.	What are the basic components of tape recorder?

PART – C  (5 x 15 = 75 MARKS)

16.	With neat diagram explain the principle of operation of moving coil voltmeter?

(OR)

17.	Explain the method of measurement of three phase power using two watt meter method with suitable phasor diagram?

18.	Write a note on the method of measurement of inductance using Anderson’s bridge with the help of neat circuit diagram? Also draw its phasor diagram?

(OR)

19.	What is potential transformer? Explain the principle of operation of Q meter?

20.	With suitable block diagram explain the operation of differential voltmeter?

(OR)

21.	What is meant by harmonic distortion? Discuss the different types of harmonic distortions?

22.	Write in detail the digital method of measurement of frequency?

(OR)

23.	Discuss how the alpha numeric display is achieved in digital systems?

24.	What is CRO? Explain its basic circuits with a neat diagram?

(OR)

25.	Compare the characteristics of X-Y plotters and UV recorders?