Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	NETWORK AND PROTOCOLS FOR INSTRUMENTATION AND CONTROL																		              Time : 3 hours

Subject Code: 	EI240			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	A byte is equal to ___________nibbles

2.	What is the first field in Synchronous frame format?

3.	Give one application of data terminal equipment

4.	What are the voltages a RS232 transmitter can produce?

5.	Write any one popular type of flow control protocol?

6.	Binary synchronous protocol is a ___________duplex protocol

7.	The hex value of ASCII character SUM is ___________

8.	Modbus is relatively___________in comparison with other buses

9.	Define network topology

10.	What is a network operating systems?

PART – B  (5 x 3 = 15 MARKS)

11.	List any two requirements of data Communication system

12.	Write two major elements of RS232

13.	What are the two common modes of operation of the high level data link control protocol?

14.	What are the major disadvantages of a star network topology?

15.	Draw the RS-485 Communications for smart transmitters

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the Communication Principles and modes in detail.

(OR)

17.	Explain the transmission characteristics in detail.

18.	What is the use of  RS-422 standard? Explain the RS-422 standard in detail.

(OR)

19.	Write short notes on:   (a) 	20 mA current loops   (b) Interface to printers 	(7+8)

20.	Explain Binary synchronous protocol (BSC) in detail.

(OR)

21.	Explain data communication for instrumentation and control in detail.

22.	Explain the Communication hardware and protocol structure of ASCII based protocol in detail.

(OR)

23.	Explain the Highway addressable remote transducers ( HART)  Protocol in detail with all  necessary diagrams.

24.	What is a Token bus? Explain it in detail.

(OR)

25.	Explain the network architectures and protocols in detail.