Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	INDUSTRIAL INSTRUMENTATION				               Time : 3 hours

Subject Code: 	EI244			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Expand PIV.

2.	Flow rate calibration depends on standards of ___________and ___________.

3.	The shedding frequency f in vortex flow meter is given by _________.

a.	f=NstdV			b.	f=NstVd

4.	State a limitation of hot wire anemometer.

5.	What are flow switches?

6.	Give two applications for level sensors.

7.	What is NOT?

8.	Name the various units of intelligent transmitters.

9.	What is VI?

10.	Name two shielding materials.

PART – B  (5 x 3 = 15 MARKS)

11.	State the principle of variable area flow meters and give two applications.

12.	How are anemometers classified?

13.	Draw an RF probe.

14.	What are the advantages of NDT?

15.	List the hazards due to instruments not following NEMA standard.

PART – C  (5 x 15 = 75 MARKS)

16.	a.	Discuss in detail how the flow meters are classified and also the basic principle of

each time.																	(6)

b.	Draw the schematic of positive displacement flow meter and explain.					(9)

(OR)

17.	a.	Draw and explain the construction of venturi tubes.									(8)

b.	Write a short note on the use of pitot tubes for flow measurements.						(7)

18.	a.	Discuss on hot film sensors and their role in flow measurement.							(8)

b.	Explain the construction and working of Turbine flow meter.							(7)

(OR)

19.	a.	With neat diagram, explain the Electro magnetic flow meter.							(8)

b.	Discuss any one method for determination of mass flow rate.							(7)

20.	With neat diagram explain the ultrasonic flow meter. Compare its performance with other types.

(OR)

21.	a.	Enumerate on the various standards and calibration methods for flow measurement.		(8)

b.	Elaborate on the use of various types of detectors for level measurement.					(7)

22.	Write a note on smart and intelligent measurement transmitters for pressure and differential pressure.

(OR)

23.	Discuss the integration of knowledge based systems with intelligent transmitters.

24.	Explain the three approaches used to combat EMI.

(OR)

25.	Discuss the formation of structures, clusters and arrays in Lab View.