Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	PROCESS DYNAMICS AND CONTROL			              Time : 3 hours

Subject Code: 	EI246			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is process variable?

2.	What is self-regulation?

3.	What is floating control?

4.	What is the advantage of PID controller over PI controller?

5.	What is decay ratio?

6.	What is Nichol’s tuning?

7.	What is the purpose of electric actuators?

8.   	What is the purpose of control valve?

9.   	How can we control the chemical reactor?

10. 	How can we do the drum level control?

PART – B  (5 x 3 = 15 MARKS)

11.	What are the elements of process control?

12. 	List the different control schemes for flow, pressure and temperature.

13. 	Write the difference between continuous cycling method and damping oscillation method.

14. 	What is flashing in control valves?

15. 	What is reflux ratio?

PART – C  (5 x 15 = 75 MARKS)

16. 	Discuss about the characteristics of liquid system and gas system.

(OR)

17. 	Derive the mathematical model of flow process and thermal process.

18. 	Write brief notes on PI, PD and PID control modes.

(OR)

19. 	Explain the selection control mode for different process.

20. 	Explain the Tuning of controllers by process reaction curve method.

(OR)

21. 	Write brief notes on feed forward control and ratio control.

22. 	With neat diagram, Explain the characteristics of control valve.

(OR)

23. 	Write short notes on globe, butterfly and diaphragm ball valves.

24. 	Explain the control of top and bottom product compositions.

(OR)

25. 	Explain the control of heat exchangers.