Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	ELECTRICAL MEASUREMENTS AND INSTRUMENTS       Time : 3 hours

Subject Code: 	EI260			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Name any two types of damping used in indicating instrument.

2.	________type of instruments are used both on AC as well as DC.

3.	What are the coils present in the wattmeter?

4.	__________is the unit for electrical energy.

5.	What is meant by accuracy?

6.	What are the types of instrument transformer?

7.	________bridge is used to measure low resistances.

8.	Megger is used to measure _________.

9.	__________bridge is used to measure the frequency of the supply.

10.	Maxwell bridge is used for the measurement of ___________.

PART – B  (5 x 3 = 15 MARKS)

11.	What are the various methods used in indicating instruments?

12.	What is the use of copper shading bands in an energy meter?

13.	What are the advantages of instrument transformer?

14.	What are the applications of bridge?

15.	Why a spark is connected across resistance arms in a Schering bridge?

PART – C  (5 x 15 = 75 MARKS)

16.	Describe various sources of errors and their compensation in PMMC instruments.

(OR)

17.	Explain with relevant diagrams, the construction and principle of attraction type moving iron instrument.

18.	Explain with a neat diagram, the principle of an induction type wattmeter.

(OR)

19.	Describe the calibration tests of wattmeter and energy meter.

20.	Discuss the operation of polar and co-ordinate type potentiometers.

(OR)

21.	With a neat phasor diagram, explain the operation of current transformer.

22.	Describe various methods for measuring resistances using voltmeter and ammeter.

(OR)

23.	Describe about a standard method to measure high resistance.

24.	Derive the balance condition for Schering bride. Draw the vector diagram at balance. What are the advantages and its limitations?

(OR)

25.	Explain the theory of working of a vibration galvanometer with a neat diagram. Also explain use of the vibration in a.c bridges.