Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	INDUSTRIAL INSTRUMENTATION				              Time : 3 hours

Subject Code: 	EI301			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain the components and features of intelligent instrument.					(10)

b.	Compare intelligent versus dump instrument.								(10)

2.	a.	Draw and explain different types of Manometers.								(10)

b.	Explain the principle and working of Burdon Tube pressure Gauge.				(10)

(OR)

3.	a.	Explain the principle and working of a pressure Gauge using strain gauge.		(10)

b.	Explain the principle and working of McLeod Gauge.							(10)

4.	a.	Explain any two positive displacement flow meters							(10)

b.	Explain the principle and working of electromagnetic flow meter with neat

diagram.																	(10)

(OR)

5.	a.	Explain the principle and working of ultrasonic flow meter with neat

Diagram.																(10)

b.	Explain the principle and working of Turbine flow meter.						(10)

6.	a.	State the laws of thermocouple and give the diagrammatic representation.		(10)

b.	Explain the principle and working of a Bimetallic thermometer.				(10)

(OR)

7.	a.	Explain the principle and working of a resistance thermometer.				(10)

b.	Explain the principle and working of a Optical-Pyrometer.						(10)

8.	a.	Explain the principle and working of a float type level indicator.				(10)

b.	Explain the principle of solid level measurement								(10)

(OR)

9.	a.	Draw the schematic arrangement of ultrasonic level gauging for liquid phase.	(10)

b.	Explain the scheme of capacitive type of level gauging.						(10)