Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	ADVANCED DIGITAL PROCESS CONTROL		              Time : 3 hours

Subject Code: 	EI324			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Draw a neat block diagram of Temperature Control System and describe its hardware. (10)

b.	Explain the interfacing of stepping motors to Microprocessors.						(10)

2.	Give Kalmn’s algorithm for the design of digital computer and explain the implementation of control algorithm using microprocessor.

(OR)

3.	a.	Write short note on Digital PID.												(8)

b.	Explain Smith predictor algorithm for the design of digital controller.				(12)

4.	a.	Explain the I/O Modules of Programmable Logic Controller.						(12)

b.	With suitable examples, write short notes on auxiliary commands and function.		(8)

(OR)

5.	a.	Give the procedure for creating ladder diagrams from process control description.	(12)

b.	Write short notes on timer and counter functions.									(8)

6.	a.	Write short notes on SKIP and MCR function and comparison function.				(8)

b.	Explain the design of interlocks and alarms for a three way traffic light problem.		(12)

(OR)

7.	a.	Explain PLC advanced intermediate function utilizing digital bits.					(10)

b.	Write short notes on PLC installation and networking of PLC.						(10)

8.	a.	Consider a system described by the difference equation.							(12)

Y (k +1) + ½ y(k) = r(k)	;	y(0) = 0.

Obtain the pulse response

b.	Write short notes on Jury’s stability test.											(8)

(OR)

9.	a.	Describe the concept of bilinear transformation for the discretization of linear

equation. 																	(12)

b.	A dampled – data system with dead time is shown in Fig. 1. Determine the condition for

system stability if  > T.														(8)

e

Gh0(s)

e−δs

Aas+a

r					   T													Y

+

-

Fig.1 A Sampled Data System with Dead Time