Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	TRANSDUCER ENGINEERING					              Time : 3 hours

Subject Code: 	EI327			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

For a transducer describe the following

a.	Transfer characteristics			b.	Output characteristics

2	a.	With necessary diagram, describe the working and construction

of   potentiometer.								    						(12)

b.	Describe the materials used for potentiometers.                                         		(8)

(OR)

3.	a.	Describe the construction, principle and working of LVDT.                 			(12)

b.	Write down the advantages and disadvantages of LVDT.                        			(8)

4.	a.	Describe the different modes of operation of Piezo- electric transducer. 			(10)

b.	Define and sketch Binders and Twisters. Explain the applications of

Piezo-electric transducer.						    							(10)

(OR)

5.	What is capacitive transducer? Explain about the differential-capacitor pressure pick-up and feedback type capacitive pick –up.

6.	Explain in detail the construction and working of Electromagnetic Flow meters.

(OR)

7.	a.	What is meant by sensors? Explain its principle of operation.                  		(8)

b.	With a neat diagram, explain in detail about Hall- Effect sensor.            			(12)

8.	What is meant by Choppers stabilized amplifier? Describe its construction and working.

(OR)

9.	With a neat block diagram, describe working principle and operation of Isolation amplifier.