Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	MEDICAL INSTRUMENTATION					              Time : 3 hours

Subject Code: 	EI337			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	With a simple block diagram discuss on ventilator and draw flow, air pressure and volume

time diagram.																(14)

b.	Discuss on program controlled insulin dosage device.								(6)

2.	a.	With neat sketches, explain the functioning of human respiratorysystem.			(12)

b.	Draw the cross sectional view of human brain and describe various zones of it.		(8)

(OR)

3.	Discuss on cardio vascular system in detail with neat sketches.

4.	a.	Describe surface electrode and discuss on electrode tissue interface.				(10)

b.	Explain the purpose and operation of isolation amplifier.							(10)

(OR)

5.	a.	Describe the operation of direct writing galvanometric recorder and its electrical

characteristics.																(15)

b.	With block diagram explain arrhythmia monitor.								(5)

6.	a.	Discuss on the operation of spirometry in detail.									(10)

b.	Explain the operation of electro – diagnostic stimulator.							(10)

(OR)

7.	a.	Explain the features of electrodes used for defibrillator. 							(10)

b.	Explain the operation of range gated pulsed Doppler flow meter.					(10)

8.	a.	Explain the data acquisition system in a CT scanner.								(10)

b.	Write notes on radio isotopes used in medical diagnosis.							(10)

(OR)

9.	a.	Explain the principle of operation and structure of lithotripter system in detail.		(15)

b.	Write the need for anesthesia.													(5)