Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	METROLOGY										               Time : 3 hours

Subject Code: 	ME214			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define Reliability.

2.	Define sensitivity.

3.	What is the use of interferometer?

4.	What are the two types of optical flat?

5.	What is a comparator?

6.	What are the two methods of measuring surface finish?

7.	What is screw thread?

8.	Define Module.

9.	What is the use of auto collimator?

10.	What is Machine Vision System?

PART – B  (5 x 3 = 15 MARKS)

11.	Write short notes on classification of error.

12.	What are the different types of inter-ferometer?

13.	What are the characteristics of good comparator?

14.	Write any three screw thread terminology.

15.	Give three applications of autocollimator.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain in detail Line and End standards.

(OR)

17.	a.	Enumerate the difference between precision and accuracy.							(8)

b.	Explain the term Interchangeability.											(7)

18.	Explain Flatness test and parallelism test of optical flats.

(OR)

19.	Explain the how the straightness is tested using spirit level and auto collimator.

20.	Describe in brief the any two constructions and working of Mechanical comparator with neat sketch.

(OR)

21.	Enumerate the principle, advantages and disadvantages of Pneumatic Comparator.

22.	Explain the principle and construction of an auto collimator with neat sketch.

(OR)

23.	Explain the applications of Machine Vision Systems.

24.	Explain in detail thread Micrometer Method.

(OR)

25.	Write notes on Gear Measurement Techniques.