Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	POWER PLANT ENGINEERING					              Time : 3 hours

Subject Code: 	ME240			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Rankine cycle efficiency of a good steam power plant may be  in the range of ________.

2.	What is regenerative cycle?

3.	What is the function of a economizer in steam power plant?

4.	State the function of condenser in steam power plant.

5.	Name any four types of Nuclear reactors.

6.	Name the important parts of a gas turbine.

7.	The temperature of cooling water leaving the diesel engine should not more than _________.

8.	What is the purpose of providing surge tank in hydro-electric power plant?

9.	What is meant by sun tracking?

10.	What is meant by MHD Generators?

PART – B  (5 x 3 = 15 MARKS)

11.	State the methods of increasing the thermal efficiency of a rankine cycle.

12.	What are the essential requirements of steam power station design?

13.	What is moderator?  Name some moderators using in nuclear power plants.

14.	Define run-off. How is it measured?

15.	How can the power generation cost be reduced?

PART – C  (5 x 15 = 75 MARKS)

16.	a.	A simple Rankine cycle works between pressure of 30 bar and 0.04 bar, the initial condition

of steam being dry saturated , calculate the cycle efficiency, work ratio and specific steam consumption. 																(12)

b.	How does modified rankine cycle  differ from rankine cycle. 						(3)

(OR)

17.	a.	Explain with a neat diagram the working of a binary vapour cycle.(10 marks)

b.	State the advantages of  regenerative  cycle.(5 marks)

18.	Give the layout of modern steam power plant and explain in detail. List out the advantages and disadvantages of steam power plant.

(OR)

19.	a.	What is cooling Tower? How are cooling towers are classified? Explain any one of them

with neat sketch.																(10)

b.	Write short  notes on (i) supercritical boilers (ii) Sub-critical boilers 				(5)

20.	a.	How are nuclear power plants classified? Explain how fission reaction takes place and how

the chain reaction is controlled? 												(5)

b.	Discuss boiling water reactor plant with neat sketch 								(10)

(OR)

[P.T.O]

21.	a.	With the help of a block diagram explain the working principle of closed cycle gas turbine

plant. 																		(10)

b.	What are the advantages of gas turbine plant over diesel and steam power plants of the same

capacity. 																	(5)

22.	Make a layout of a modern diesel power plant showing the following systems:

a.	Air take system  b. Cooling system  c.  Fuel System  d.   Lubrication system

e.   Exhaust system

(OR)

23.	a.	Enumerate advantages and disadvantages of hydro electric plants.					(7)

b.	Write short notes on the following:												(8)

i.	Hydrograph  				ii.	mass curve

ii.	flow duration curve 		iv.	Hydro power development in India.

24.	Write short  notes on the following:												(6+3+3+3)

a.	Working of MHD generator			b.	Fuel cells and its applications

c.	Solar Power plant 					d.	Wind Power plant

(OR)

25.	The maximum demand of a power station is 80,000 kW and the load curve is defined  as follows:

| Time (Hrs) | 0-6 | 6-8 | 8-12 | 12-14 | 14-18 | 18-22 | 22-24 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Load(MW) | 40 | 50 | 60 | 50 | 70 | 80 | 40 |

a.	Determine the load factor for power station.										(9)

b.	What is the load factor of standby equipment rated at 25MW that takes up all

Load in excess of 60 MW? Also calculate it’s use factor  							(6)