Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	RENEWABLE SOURCES OF ENERGY				              Time : 3 hours

Subject Code: 	ME266			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What are the advantages in renewable energy sources?

2. 	What are Primary and Secondary Energy Sources?

3. 	Define Solar Constant.

4. 	What are the applications of solar energy in the agricultural sector?

5 	What is meant by tidal energy?

6 	What are the salient features of wind energy?

7. 	What are the various bio mass resources?

8. 	Define fermentation.

9. 	Define the seebeck effect.

10. 	What are Magneto hydrodynamic systems?

PART – B  (5 x 3 = 15 MARKS)

11. 	What are Renewable energy resources and give examples.

12. 	What is a Pyranometer?

13. 	What are the components of a tidal power plant?

14. 	What are the forms of bio conversion?

15. 	What are the different thermo electric materials used in recent times?

PART – C  (5 x 15 = 75 MARKS)

16. 	Explain in detail, the availability of the different forms of energy in the near future.

(OR)

17. 	Explain the different forms of renewable energy resources in detail.

18. 	Explain the different components involved in a flat plate solar collector.

(OR)

19. 	Describe the solar pond electric power plant with a neat sketch.

20. 	Explain the construction and working of a sail type wind mill.

(OR)

21. Write short notes on:												(5+5+5)

(a) Types of Wind Mills   (b) Energy from tides and waves     (c) Power from geothermal energy.

22. What are the different factors to be considered for the site selection of a Bio gas plant?

(OR)

23. Explain the design considerations involved in the operation of a Digester.

24. Explain with a neat sketch, a basic photo voltaic system for power generation?

(OR)

25. Write short notes on :												(5+5+5)

(a)  Fuel Cells.         (b) Thermionic Generators.           (c) Thermo Electric Generators.