Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	METROLOGY AND MEASUREMENT SYSTEMS	              Time : 3 hours

Subject Code: 	PE334			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	a.	What are the various methods of measurements? Discuss in detail.       				(10)

b.	Briefly describe the various types of errors in measurements.						(10)

(OR)

2.  	a.	Explain the following terms in mechanical measurements:						(3+3+3+3)

i.	Calibration                                 ii.	Sensitivity                                                                                   	  	iii.	Hysteresis	                 		iv	Bias                                                                                              	 b. 	Explain the accuracy and precision of an instrument with suitable examples.         	  (8)

3.	COMPULSORY:

a.	What do you understand by low pressure measurements? With a neat sketch explain the construction and working principle of McLeod gauge. 							(10)

b.	Write short notes on the following:												(5+5)

i.	Thermal conductivity gauge             ii.	 Piezo-Electric transducer

4. 	a.	List out the various materials used in resistance temperature detectors and explain the

construction and working of a resistance thermometer.                      				(10)

b.	How does a thermistor differ from an electrical resistance thermometer? Explain the

principle and operation of the thermistor.                                                             		(10)

(OR)

5.	a.	Write the basic governing equation of the hot wire anemometer operation. Draw a

schematic diagram of a hot wire anemometer and explain in detail. 					(10)

b.	Mention the advantages of the thermocouples sensors and describe with a sketch

the principle of working of thermocouples.										(10)

6.	a.	Explain how a sine centre may be employed to determine the inclined angle of a taper plug

gauge and show the arrangement.                                                          				(10)

b.	Describe in detail the principle of working and construction of an angledekkor.		(10)

(OR)

7.	a.	With a neat sketch describe how would you check the angle of a component by using an

autocollimator.                                                                                          				(12)

b.	List out the various standard sizes of angle gauges available. Select the sizes of angle gauges required to build the angles 26˚56’30” ,  37˚9’18”  and show the arrangement.          	(8)

8. 	a.	What is the difference between primary texture and secondary texture? With a neat  sketch

describe the Tomlinson surface meter.                                                      				(12)

b.	Describe the two wire method for measuring the effective diameter of a screw thread. (8)

(OR)

9. 	a. 	Define runout and backlash in gears. With the help of sketch explain the working and

constructional detail of Parkinson’s gear tester.									(10)

b.	Describe how Talysurf machine can be used for measuring surface finish.         		(10)