Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – November / December 2008

Subject Title: 	MATERIALS CHARACTERIZATION				              Time : 3 hours

Subject Code: 	PH316			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	What is meant by diffraction of X-rays?                                                                     	(3)

b.	Explain the powder crystal method to investigate the structural analysis of materials.  (12)

c.	Compare powder and single crystal X-ray diffraction.                                               	(5)

2.   	a.	Explain about X-ray photoelectron spectrophotometer                                             	(12)

b.	How is this method useful to analyze the elemental composition of the material?    	(8)

(OR)

3.   	a.	State the principle of Rutherford backscattering spectrometry.                                 	(2)

b.	Describe in detail the operation of a RBS system with its experimental setup.        	(13)

c.	Discuss its applications in materials characterization.                                                	(5)

4.	a.	Explain the construction and working of UV-Vis-IR spectrophotometer with

block diagram.                                                                                                                	(10)

b.	How is UV-Vis-IR spectrophotometer useful to determine the optical parameters such as absorption coefficient, optical energy bandgap and refractive index of the materials? 	(10)

(OR)

5.   	a.	Explain about the instrumentation of  FTIR.                                                             	(10)

b.	Explain with an example how the molecular structure and bonding of the compound

elucidated by FTIR spectroscopy.                                                                             	(10)

6.   	a.	Define endothermic and exothermic reactions.                                                       		(2+2)

b.	Explain about the Differential Scanning Calorimetry.                                              	(12)

c.	Mention some of the important applications of DSC related to characteristic properties of a sample.                                                                                                                 		(4)

(OR)

7.	a.	Explain the experimental procedure of thermogravimetric analysis.                         	(15)

b.	What are the conclusions one can get from thermogravimetric analysis.                     	(5)

8.   	What is Chromatography? What are the different types of Chromatography? Explain them.

(OR)

9.  	Explain about Vickers Hardness Test.