Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination – July 2008

Subject Title: 	MEASUREMENT SYSTEMS						              Time : 3 hours

Subject Code: 	EI234				         						          Maximum Marks: 60

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	How will you convert a basic galvanometer movement into a voltmeter?

2.	What is meant by calibration?

3.	Mention any two limitations of a wheatstone bridge.

4.	What is a Megger?

5.	How will you specify the sensitivity of a voltmeter?

6.	What is a spectrum analyzer?

7.	What is an encoder?

8.	Mention any two applications of alphanumeric display.

9.	What is a delay line?

10.	What is X-Y plotter?

PART – B  (5 x 2 = 10 MARKS)

11.	What is meant by phantom loading in an energy meter?

12.	What are PT’s and CT’s?

13.	What is a power meter?

14.	How will you measure velocity digitally?

15.	Write the principle of moving coil recorder.

PART – C  (5 x 8 = 40 MARKS)

16.	Explain the principle of dynamometer type of instrument and derive the expression for the 	deflecting torque.

(OR)

17.	With a neat diagram explain the method of power measurement using three ammeter and 	three 	voltmeters.

18.	Draw the circuit diagram of a Maxwell’s inductance capacitance bridge. Derive the expression 	for the unknown inductance and draw the Phasor diagram.

(OR)

19.	With a neat diagram explain the working principle of Megger.

20.	Explain the principle of differential voltmeter.

(OR)

21.	Describe the working principle of a harmonic distortion analyzer.

22.	Explain the method of measuring displacement digitally with a neat sketch.

(OR)

23.	Write short note on digital alpha numeric display.

24.	Draw the block diagram of a CRO. Explain the important functions of each block.

(OR)

25.	With a neat diagram explain the principle of UV recorders.