Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – May / June 2009

Subject Title: 	INSTRUMENTAL METHODS OF ANALYSIS				Time : 3 hours

Subject Code:	BC211		       						               		 Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What is pH?

2.	Quote few examples for biological buffering systems

3.	Filters will be present in ---------------

4.	Metal ions like Na+ and K+ can be estimated using ----------

5.	What is a paper chromatography?

6.	Define an electrophoresis

7.	Define an isotope and give an example

8.	Give the significance of RIA

9.	Define DTA

10.	What is thermogravimetry?

PART – B  (5 x 3 = 15 MARKS)

11.	What is a glass electrode?

12.	Outline the principle of a flame photometer

13.	Give the principle of affinity chromatography

14.	Define a radioactive decay

15.	List a few thermal analysis techniques

PART – C  (5 x 15 = 75 MARKS)

16.	Derive the Henderson – Hasselbalch equation and give its significance

(OR)

17.	Discuss in brief the working principle of a pH electrode

18.	Explain the principle, instrumentation and applications of flourimety

(OR)

19.	Describe the principle, instrumentation and applications of colorimetry

20.	Give a brief account on the principle, instrumentation and applications of gel filtration

(OR)

21.	Describe in brief the principle and applications of SDS PAGE

22.	Explain in detail the principle and the significance of RIA

(OR)

23.	Elaborate the applications of radioisotopes in medicine and diagnosis

24.	Briefly explain the principle, instrumentation and applications of DSC

(OR)

25. Describe in detail the principle and instrumentation of DTA