Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – May / June 2009

Subject Title: 	FOOD REFRIGERATION ENGINEERING AND TECHNOLOGY	 Time : 3 hours

Subject Code: 	FP222			         						                Maximum Marks: 100

Any missing data may be suitably assumed.

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	The performance of a refrigerating machine is measured in terms of  ___________ .

2.	The wet bulb temperature is same as dew point at _________relative humidity.

3.	The temperature at which refrigerant gas becomes liquid is ____________________ in a refrigerator.

4.	The vapour pressure of refrigerant should be __________ than atmospheric pressure.

5.	The recommended storage temperature for fish is ______.

6.	Freeze drying is achieved by ____________ under vacuum.

7.	_________________ storage greatly reduces the respiration rate and increases storage life.

8.	_______________ refrigeration systems are commonly used for the chilling of carcass.

9.	Poultry meat is preserved both by _______________ and ____________.

10.	Air-blast freezers with ______________operation make use of conveyors.

PART – B  (5 x 3 = 15 MARKS)

11.	Mention the advantages of Vapor compression refrigeration system over air refrigeration system.

12.	List three advantages of thermostatic expansion valves.

13.	What are the salient features of quick freezing?

14.	Distinguish between air blast and plate freezers.

15.	What is denaturation?

PART – C  (5 x 15 = 75 MARKS)

16.	Explain the working principle of Vapor absorption refrigeration system with a   schematic diagram.

(OR)

17.	a.	List the properties of a refrigerant.												(7)

b.	Mention four refrigerants commonly used and their properties and applications.		(8)

18.	Discuss on the salient features of transport refrigeration using refrigerated trucks and trailers.

(OR)

19.	Discuss on the processing and storage of meat, poultry and fishery products, fruits and vegetables.

20.	Describe the storage conditions and properties of food products.

(OR)

21. 	Discuss on the operation and maintenance, their cleanliness and defrosting practices of cold storages.

[P.T.O]

22. 	Describe the equipment to produce ice with a schematic diagram.

(OR)

23. 	Describe the packaging of chilled foods and the hygienic design considerations for   chillers and chilled storages.

24. 	Explain in detail (a) Air blast freezers (b) Plate freezers and (c) Spray freezers.

(OR)

25. 	32,400 kg/day of cold fish is to be frozen to -30°C in 10 cm thick blocks each weighing 45 kg. The secondary refrigerant temperature is -40°C. The evaporating refrigerant temperature is          -47°C. The fish enters at 30°C. The freezing cycle time may be taken as 4 hours. Given:

Specific heat of thawed fish 	 = 3.77 kJ/kg°C.

Latent heat of fusion of fish	 = 251.2 kJ/kg.

Specific heat of frozen fish	 = 1.67 kJ/kg°C.

Calculate the number of blocks frozen per cycle and refrigeration duty of the plant for 18 hours running time.