Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – May / June 2009

Subject Title: 	INSTRUMENTATION AND CONTROL SYSTEMS	               Time : 3 hours

Subject Code: 	ME256			         						                Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What are precision characteristics?

2.	Give the expression for relative static error.

3.	Name the forms of Bourdon tube.

4.	What is the reason for using platinum material in resistance thermometer?

5.	Name any two materials used in resistance wire strain gauges.

6.	Write any two properties of piezoelectric crystal.

7.	What is the condition for bridge balancing in a Wheatstone bridge circuit?

8.	What is proportional control?

9.	The frequencies at which the polar plot intersects with the real and imaginary axis are given by ___________

10.	Give the equation governing argument in Nyquist stability.

PART – B  (5 x 3 = 15 MARKS)

11.	What are the functions of instruments and measurement systems?

12.	List the applications of thermistors.

13.	Draw the equivalent circuit of piezoelectric transducers.

14.	Draw a block diagram showing derivative control action.

15.	What are the conditions for stability?

PART – C  (5 x 15 = 75 MARKS)

16.	How the measuring instruments are broadly classified according to their principle of measurement? Explain.

(OR)

17.	Explain accuracy and precision with respect to electrical measurements? What are the different ways by which accuracy can be specified?

18.	Explain how high pressure & low pressure are measured using transducers.

(OR)

19.	With neat diagram, explain the following

a.	Hot wire anemometer		b.	Ultrasonic flow meter

20.	Describe the principle of capillary tube viscometer & explain how the viscosity is measured.

(OR)

21.	What are the different types of strain gauges? Explain any one type briefly with neat diagram.

[P.T.O]

22.	Simplify the block diagram shown in fig. 1 and obtain the closed loop transfer function C(s)/R(s)

Fig. 1

(OR)

23.	Explain in detail about hydraulic system with suitable example.

24.	Sketch the Bode plot for the transfer function

300 (s2 + 2s + 4)

_______________

s (s + 10) (s + 20)

(OR)

25.	The open loop transfer function of a unity feedback control system is given by

By applying the Routh criterion, discuss the stability of the closed loop system estimating the values of k which will cause sustained oscillation in the closed loop system. Find the corresponding oscillation frequencies.