Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – May / June 2009

Subject Title: 	METROLOGY AND MEASUREMENT SYSTEM	              Time : 3 hours

Subject Code: 	PE334			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	a.	Describe the generalized measurement system with a neat sketch.					(10)

b.	Discuss the characteristics of Line standards and End Standards. 					(10)

(OR)

2.	a.	State and explain the five basic elements of measuring system.						(10)

b.	Differentiate between systematic errors and Random errors.						(10)

3.	Compulsory:

a.	With a neat sketch, explain in detail the measurement of pressure by using a    Primary and

secondary transducer arrangement.                              								(15)

b.	List out the functional characteristics of a Transducer.                    					(5)

4.	a.	Explain the operational features of a resistance thermometer.         					(10)

b.	Discuss the advantages and disadvantages of Thermocouples.          				(10)

(OR)

5.	a.	Explain the salient features of a Rotometer with a neat sketch.						(10)

b.	Illustrate the working of an optical pyrometer with a neat sketch.					(10)

6.	a.	Draw a neat sketch to illustrate the use of a Sine bar for the measurement of a taper  plug

gauge and explain it briefly.				          								(10)

b.	Explain in detail about the adjustable slip gauges.		        					(10)

(OR)

7.	a.	Discuss the construction and working of an Angle dekkor with a neat sketch. 		(10)

b.	Enumerate the Industrial applications of an Auto collimeter.       					(10)

8.	a.	Discuss the terms Primary and Secondary textures with sketches.     				(5)

b.	Explain with a neat sketch the construction and working of the Tomlinson

Surface meter.		           													(15)

(OR)

9.	a.	Explain with a neat sketch the construction and working of the Parkinson’s  Gear tester. (15)

b.	List out the various advantages and disadvantages of a Co-ordinate Measuring

Machine (CMM).																(5)