Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – May / June 2009

Subject Title: 	MATERIAL CHARACTERISATION				              Time : 3 hours

Subject Code: 	PH336			         						                Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain the powder X-ray diffraction method used for the analysis of crystal structure. (10)

b.	Describe Debye – Scherer method of X-ray diffraction along with its advantages. 	(10)

2.   a.	Explain about Electron Spectrophotometer.                                                              	(10)

b.	How is this method useful for chemical analyze of the materials?                           	(10)

(OR)

3.  	a.	Justify the statement: “RBS has good mass resolution for light elements than for heavy

elements”										                   					(5)

b.	Explain about the operation of a RBS system with its experimental setup

and application.										     						(15)

4.  	a.	Explain the instrumentation of FTIR with suitable block diagram.	                 		(10)

b.	Explain with an example how the molecular structure and bonding of the compound

elucidated by FTIR spectroscopy. 							     					(10)

(OR)

5.  	a.	Explain construction and working of NMR with block diagram.                               	(10)

b.	How is NMR useful to determine the characterization of the materials?                   	(10)

6.  	a.	Distinguish between endothermic and exothermic reactions.                                       	(5)

b.	Explain about the thermogravimetry and mention some of the important applications

of TG.											     							(15)

(OR)

7.  	a.	Define the term “transition temperature”						      				(5)

b.	Explain the method to determine the transition temperature of metals and alloys.    	(15)

8.  	a.	What is Cyclic Voltammetry?                                                                                       	(5)

b.	Explain the method to determine the electrical conductivity of liquids.                    	(15)

(OR)

9.  	a.	What is the principle of Vibrating Sample Magnetometer?                                         	(5)

b.	Explain the instrumentation and working of vibrating sample magnetometer. Mention some

of its applications in magnetic analysis.                                                                      	(15)