Reg. No. ________

Karunya University

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Trimester Examination – September / October 2009

Subject Title: 	BUILDING SERVICES								          Time : 3 hours

Subject Code: 	09CE367		         						           Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	Compulsory:

a.	Explain various possibilities of fire hazards in buildings. How will you protect the building from disaster?														(8)

b.	Write the special design considerations to be considered for physically handicapped and elderly people with respect to fire safety. 										(8)

c.	Write short notes on Fire alarm systems and Smoke detectors.						(4)

2.	a.	What are the various wiring systems adopted in a building? Explain them.			(8)

b.	What are the requirements of lighting for various types of buildings?					(8)

c.	Explain: Artificial light sources & Lighting classification							(4)

(OR)

3.	a.	List out the various protective devices used in electrical installation. Explain them in

detail.																		(8)

b.	What do you mean by Luminance, Contrast & Glare?								(8)

c.	Explain : Luminous Flux, Candela.										 		(4)

4.	a.	What are the protective measures to be adopted against fire caused by AC systems	(8)

b.	Write short notes on window air conditioner.										(8)

c.	What is cooling load?															(4)

(OR)

5.	a.	Give an account of air conditioning systems suitable for various types of buildings.	(8)

b.	Explain about cooling towers.													(8)

c.	What are the advantages of fan coil system in air conditioning.						(4)

6.	a.	Explain about the suspended impurities present in water and the effect of it.			(8)

b.	What is the difference between conservancy system and water carriage system?	 	(8)

c.	What is an inverted siphon? 													(4)

(OR)

7.	a.	What is the normal standard of potable drinking water?							(8)

b.	Explain the different methods of distribution of water.							(8)

c.	What do you mean by Lamphole?												(4)

8.	a.	Explain the different methods of saving electric power in a commercial building.		(12)

b.	Write short notes on intelligent building	.										(8)

(OR)

9.	a.	What are the special considerations in the case of high rise buildings for elderly people.

(12)

b.	Explain : Building automation													(8)