Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination - June 2011

Subject Title:	POWER PLANT ENGINEERING 						       Time: 3 hours

Subject Code:	09ME237	       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	The reheater is always placed _________ (behind/before) the high pressure super heater.

2.	The Rankine efficiency of a steam cycle is less than carnot cycle.  (True / False).

3.	Mention any one mounting and accessory of a boiler.

4.	Define ‘Draught’.

5.	The common unit of nuclear radiation is _________.

6.	The mechanical efficiency of gas turbine plant is as high as 95%.  (True / False).

7.	What is the function of the air filter used in a diesel plant?

8.	Pelton wheels are used for very high heads only (True / False)

9.	Mention any one possible tidal power plant site in India.

10.	Define load factor.

PART – B (5 x 3 = 15 MARKS)

11.	Draw the T-S diagram of a Rankine cycle.

12.	List out site selection factors to be considered for Thermal power station.

13.	What are the effects of nuclear radiation?

14.	What are the various types of draft tubes?

15.	Write short notes on MHD Generators.

PART – C (5 x 15 = 75 MARKS)

16.	Explain about reheat cycle and derive the equation for efficiency.

(OR)

17.	With neat circuit sketch, explain the working principle of a binary vapour cycle.

18.	Briefly discuss about general layout of modern thermal power plant.

(OR)

19.	Write short notes on (a)	Electrostatic precipitators	(b)	Cyclone separator.

20.	Discuss about nuclear radioactive waste disposal systems.

(OR)

21.	Explain about various components of a Gas turbine plant.

22.	Discuss about different systems used in a diesel power plants.

(OR)

23.	What are the advantages and disadvantages of a hydro-electric power plant?

24.	Write short notes on (a)	Solar energy		(b)	Wind energy

(OR)

25.	Briefly discuss about the various direct energy conversion system.