Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination - June 2011

Subject Title:	INTELLIGENT BUILDINGS 							       Time: 3 hours

Subject Code:	10CE202	       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	Define intelligent building.

2.	Define automation.

3.	Define human comfort.

4.	What is illumination?

5.	What is automatic fire alarm system?

6.	State the functions of sprinklers.

7.	What is a security system?

8.	Define health monitoring system.

9.	What is building electronics?

10.	State few communication principles.

PART – B (5 x 3 = 15 MARKS)

11.	Briefly describe smart materials.

12. 	Discuss lighting systems in buildings.

13.	What is foam system?

14.	What is central alarm system?

15. 	Briefly explain fibre optic system.

PART – C (5 x 15 = 75 MARKS)

16. 	Explain about the building automation system.

(OR)

17. 	Explain cost analysis of intelligent building.

18.	Describe the various air conditioning systems.

(OR)

19. 	Explain electrical power transmission to buildings.

20. 	Describe different types of fire service installations.

(OR)

21. 	Discuss in detail the microprocessor based alarm.

22. 	 Describe:  a.		Intrusion sensors  		b.	Space sensors.

(OR)

23. 	Explain closed circuit television system.

24. 	 Explain the operation of programmable logic controller.

(OR)

25. 	Discuss in detail:

a.	Communal aerial broadcasting  		b.	Satellite communication.