Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination - June 2011

Subject Title:	SENSORS AND TRANSDUCERS 						       Time: 3 hours

Subject Code:	EI247		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	The most stable primary atomic standard for frequency is ___________.

2.	What are the types of direct measurement method?

3.	Name any one active transducer.

4.	Piezo- electric crystal is a ___________ transducer.

5.	Thermistor have ___________ temperature coefficient of resistance.

6.	What is the angle between each stator winding of synchro?

7.	Quartz and Rochelle salt belongs to___________ group of piezo electric material.

8.	Mention any one demerit of capacitance transducer.

9.	Smart sensor is also called as ___________.

10.	Moire fringes are used for measurement of rotary displacement along with ___________.

PART – B (5 x 3 = 15 MARKS)

11.	Define error and classify its types.

12.	Define digital transducer with an example.

13.	Differentiate RTD and Thermistor

14.	What is piezoelectric effect?

15.	What is pH? Name the electrodes used for its measurement.

PART – C (5 x 15 = 75 MARKS)

16.	a.	Explain in detail the various classification of errors with examples and also discuss the 	methods of minimizing them.				                 							(10)

b.	Two resistors 460 ± 10% and 330 ± 5% are connected in parallel. Calculate the effective resistance neglecting errors and effective resistance taking errors into consideration						      											(5)

(OR)

17.	a.	Define standard. How are standards classified? Give the international standards used for 	mass, length, and time.                                                        							(8)

b.	Ten measurements of a pressure made by an instrument at different time intervals give the following readings in kg/cm2:

7.92, 8.03, 8.10, 7.95, 8.01, 7.98, 7.95, 8.07, 7.94 and 7.97.	Find arithmetic mean, standard deviation, and most probable error.		    								(7)

18.	Define transducer. Discuss in detail the various classification of transducer with examples.

(OR)

19.	Mention the factors influencing choice of transducer.

20.	a.	Describe the construction and working of LVDT.                                      			(10)

b.	What is a Variable reluctance accelerometer?                                             			(5)

(OR)

[P.T.O]

21.	a.	Derive the expression for Gauge factor of a Strain gauge.                            			(7)

b.	Explain any two compensation circuit for thermocouple.                              			(8)

22.	With neat sketches, discuss the different types of operation of a capacitive Transducer.

(OR)

23.	Explain in detail about the properties of piezoelectric crystal and frequency response with necessary diagram.

24.	a.	Explain with a neat sketch the working of a shaft encoder.		   					(10)

b.	Mention the advantages of digital transducers.				    					(5)

(OR)

25.	Explain the construction and operation of Smart sensor. State its advantages and disadvantages.