Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination - June 2011

Subject Title:	BIOMEDICAL INSTRUMENTATION 					       Time: 3 hours

Subject Code:	EI252		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1.	The Bio Electrical generator of heart is situated at ____________.

2.	ERG stands for ____________.

3.	The systolic Blood Pressure in the normal adult is in the range of ____________.

4.	Mention the classification of Audiometer.

5.	Write the different types of Pacemaker.

6.	What is the application of Nerve Stimulators?

7.	Mention the different types of Chromatography.

8.	Bring out the difference between micro shocks & macro shocks.

9.	MRI stands for ____________.

10.	What is Biotelemetry?

PART – B (5 x 3 = 15 MARKS)

11.	What are resting and action potentials?

12.	Define Respiratory rate.

13.	What is Diathermy?

14.	Write short notes on pH.

15.	Explain briefly about Angiography.

PART – C (5 x 15 = 75 MARKS)

16.	Draw diagrams illustrating the process of respiration and circulation. State the purpose served by these two systems and explains the process involved in the operation of these two systems.

(OR)

17.	Explain with neat sketch the anatomy and physiology of central nervous system.

18.	a.	Discuss the working principle of a electromagnetic type blood flow meter.			(7)

b.	Explain the working principle any one type of blood pressure measurement.			(8)

(OR)

19.	Explain in detail about the different types of Oximeters with necessary diagrams.

20.	Explain the working of Heart – Lung machine with neat sketch.

(OR)

21.	Discuss different types of defibrillators in detail with neat sketches.

22.	Explain in detail about the complete blood gas analyzer designed to measure pH, pCO2, pO2 from a sample of whole blood.

(OR)

23.	Describe the possibilities of occurrence of electrical accidents for a patient in a Hospital and also explain about the devices to protect against the electrical hazards.

[P.T.O]

24.	Explain in detail how 3D images can be formed using Computerized Tomography (CT)?

(OR)

25.	a.	Draw an X-ray tube and explain the generation of X-rays.                            			(10)

b.	List out the properties of X-rays. 						      						(5)