Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examination - June 2011

Subject Title:	INSTRUMENTATION AND CONTROL SYSTEMS		       Time: 3 hours

Subject Code:	ME256		       						               	       Maximum Marks: 100

#### Answer ALL questions

PART – A (10 x 1 = 10 MARKS)

1. 	The sensing unit is a generalized measurement system for _________ stage.

2.	The temperature measurement by a thermocouple is

a.	Primary measurement		b.	Secondary measurement	c.	Tertiary measurement.

3.	What is LVDT?

4.	Piezo – Pressure transducer is not used to measure ___________ Pressure.

5.	Name the instruments used to measure torque.

6.	Absorbtion hydrometer is used to measure _________.

7.	_________ are used to add two or more signals in the system.

8.	___________ is used to represent the control system graphically.

9.	What is phase margin?

10.	Write the equation of gain margin.

PART – B (5 x 3 = 15 MARKS)

11.	Give the general classification of instruments and explain their operation.

12.	List the types of temperature measurement.

13.	What are the types of strain measuring techniques?

14.	List the demerits of open loop system.

15.	What is transient and steady state response?

PART – C (5 x 15 = 75 MARKS)

16. 	Discuss with neat sketch, the three stages of a generalized measurement system.

(OR)

17.	Write a short notes on:

a.	Accuracy	b.	Calibration and	c.	Dynamic terms							(3x5)

18.	Explain with neat sketch, the working of pressure transducer.

(OR)

19.	With neat sketch, explain the Magnetic flow transducer.

20.	Illustrate with neat sketch, the operation of humidity absorption Hydrometer.

(OR)

21.	Explain with neat diagram, the functioning of Piezo-electric transducer.

[P.T.O]

22.	Draw a signal flow graph and evaluate the closed loop transfer function of a system whose block diagram is shown as

G1

G3

G4

H2

H1

+

-

-

+

-

+

C(s)

R(s)

G2

(OR)

23.	What are the advantages and disadvantages of hydraulic devices in control system? Explain hydraulic devices with an example.

24.	Draw the bode plot for the function of GH(s) = 5(1+2s)/(1+4s)(1+0.25s).

(OR)

25.	Use the routh stability criterion to determine the location of roots on the s-plane and hence the stability for the system represented by the characteristic equation s6+s5+3s4+3s3+3s2+2s+1=0.