Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

Supplementary Examinations – June 2016

# Subject Title: POWER ELECTRONICS							       Time : 3 hours

# Subject Code: 14EE2010								              	 Maximum Marks: 100

Answer ALL questions (5 x 20 = 100 Marks)

1.	a.	Examine the performance characteristics of SCR in static V-I and switching states.																					      (15)

b.	Compare Power MOSFET and Power BJT.										(5)

(OR)

2.	a.	With neat diagram describe the switching characteristics of Power BJT.			      (10)

b.	Justify - TRIAC is operated in four quadrants.								      (10)

3.	a.	Describe the operation of the single phase ac to ac full wave voltage controller with R – 		Load, with necessary circuit diagrams and wave forms. Also derive expression for the 		RMS load voltage. 														      (12)

b.	List down the applications of AC Voltage Controller and Cyclo-converter.			(8)

(OR)

4.	a.	Explain the operation of a single phase semi converter bridge with neat diagram and 			waveforms. 																      (15)

b.	Compare single phase full and semi controlled converters. 						(5)

5.	a.	Analyze the working of single phase to single phase step down Cycloconverter with 	circuit diagram and waveform.												      (14)

b.	Sketch the circuit diagrams of type-A chopper and type-B chopper					(6)

(OR)

6.	a.	Recommend a DC to DC Converter which can operate in all the four quadrants.	      (14)

b.	Outline the control strategies of chopper circuit.									(6)

7.	Describe the operation of three phase voltage source inverter in 120 mode conduction with 	necessary circuit diagram, waveforms. Derive the expression for the RMS value of phase 	voltage and line voltage.

(OR)

8.	a.	Explain about the working of single phase series inverter.						      (14)

b.	What is free-wheeling diode? Mention its purpose. 								(6)

9.	Compulsory:

Enumerate the benefits of HVDC Transmission. Explain with a neat diagram the various 	configurations of HVDC systems.