Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	PROTEOMICS										      	     Time : 3 hours

Subject Code:	09BI213							 				       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Define the term proteome.

2.	Define Isoelectric point.

3.	Expand the term MudPIT.

4.	What helps to solubilize membrane proteins and separate them from lipids?

5.	________ method is used to obtain a pure population of cells from tissue sections.

6.	In a mass spectrum, what is plotted in the x and y axis respectively?

7.	Name any one image analysis software for 2D PAGE.

8.	In MALDI-TOF, what does TOF represent?

9.	In plants, elevated temperatures result in the synthesis of ________ proteins.

10.	Name a few companies manufacturing biochips.

PART – B  (5 x 3 = 15 MARKS)

11.	Write a short note on treatment of biological samples for protein extraction.

12.	How are proteins separated in a HPLC?

13.	What are the challenges faced when analyzing 2D gels?

14.	Differentiate MALDI TOF and ESI-MS.

15.	Discuss the applications of the microarray.

PART – C  (5 x 15 = 75 MARKS)

16.	Describe the life cycle of a protein with suitable diagram.

(OR)

17.	Describe how are samples prepared to run a 2D-PAGE.

18.	Describe the two dimensions of 2D-PAGE and the procedure to separate proteins.

(OR)

19.	Explain how 2D gel images analyzed using software.

20.	Describe the parts of a MALDI-TOF instrument and its working.

(OR)

21.	Describe the functioning of a microarray.

22.	Describe the working of ESI-Tandem MS with a workflow.

(OR)

23.	Explain in detail the process of phosphorylation site analysis using MS.

24.	Describe the procedure and applications of Peptide Mass Fingerprinting.

(OR)

25.	Describe the role of proteomics in drug development and toxicology.