Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	INSTRUMENTAL METHODS OF ANALYSIS		      	     Time : 3 hours

Subject Code:	09BT202 / 09BT251								       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	Write Henderson – Hasselbalch equation.

2.	List any two uses of centrifuge.

3.	Write Beer – Lambert’s law.

4.	Mention any one application of colorimeter.

5.	Expand TLC.

6.	Write the principle of electrophoresis.

7.	Name any two radioactive isotopes.

8.	Define autoradiography.

9.	________ is one of the types of DSC instruments.

10.	Measurements of changes in sample mass with temperature are made using ________.

PART – B  (5 x 3 = 15 MARKS)

11.	Give a short note on buffer and its uses.

12.	Concise on essential parts of a colorimeter.

13.	Elaborate on the applications of TLC and HPLC.

14.	Reveal the applications of Scintillation counter.

15.	Write short note on thermal analysis.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain in detail about pH meter and its applications.

(OR)

17.	Illustrate the principle and applications of high and low speed centrifuges.

18.	Exemplify the basic components and working principle of a flame photometer.

(OR)

19.	Explain the principle of UV – visible spectrophotometer and a note on its application.

20.	Give a brief account on various types of electrophoresis.

(OR)

21.	Describe the types of High – Performance Liquid Chromatography.

22.	Illustrate the applications of radioactive isotopes in diagnostic and medical field.

(OR)

23.	Explicate the types of radioactive decay processes.

24.	Give a detailed account on the principle and instrumentation of thermogravimetry.

(OR)

25.	Explain the basic theory, construction and working of Differential Scanning Calorimeter (DSC).