Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	BASIC ELECTRONICS AND INSTRUMENTATION	      	     Time : 3 hours

Subject Code:	09EI101								 			       Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

1.	What are the majority and minority carriers of n-type semi conductor?

2.	What are the different types of FET?

3.	What are universal gates?

4.	Write DeMorgan’s theorem.

5.	Define the term ‘repeatability’.

6.	What are the causes of gross errors?

7.	Express the pH value mathematically.

8.	Write the principle of thermocouple.

9.	What are the components of a digital instrument?

10.	How can the voltmeter range be extended?

PART – B  (5 x 3 = 15 MARKS)

11.	Draw the VI characteristics of a thyristor.

12.	Write the truth table of half adder.

13.	Define the term ‘Calibration’

14.	Differentiate between active and passive transducer.

15.	Compare the features of series type and shunt type ohm meter.

PART – C  (5 x 15 = 75 MARKS)

16.	Draw the CE configuration of a transistor and explain the input and output characteristics.

(OR)

17.	Draw the equivalent circuit of UJT and explain its operation.

18.	Draw the diagram for counter and explain. List all the types of counters.

(OR)

19.	Draw the circuit of a full order. Explain its operation with the help of truth table.

20.	Explain the dynamic characteristics of an instrument.

(OR)

21.	What are the possible errors encountered in an instrument? Explain the causes of errors and remedial measures to be done to reduce the errors.

22.	With a diagram explain the principle of measuring instrument for Level.

(OR)

23.	With a neat sketch explain the principle of measurement of displacement.

24.	Draw the block diagram of time interval measurement unit and explain.

(OR)

25.	Explain the concept of Multi-range Ammeter with a neat sketch.