Reg. No. ________

Karunya University

(Karunya Institute of Technology and Sciences)

(Declared as Deemed to be University under Sec.3 of the UGC Act, 1956)

End Semester Examination – April/May – 2016

Subject Title :	FIBER OPTICS AND LASER INSTRUMENTATION		Time : 3 hours

Subject Code:	09EI203 / 12EI247							      	 Maximum Marks: 100

#### Answer ALL questions

PART – A  (10 x 1 = 10 MARKS)

- List  the uses of optical fibers.

- Name the instrument that is used for non destructive measurement.

- Multimode passive optical sensors are used to measure _________________.

- Mention the different types of fiber optic sensors.

- In Gas lasers the ratio of helium-Neon mixture is ______________.

- Write the condition at which laser emission can be obtained.

- Mention the assisting gas for Ti, Nb, Ta, Zr and Glass.

- The intramodal dispersion measurement is made by ______________________.

- Define Hologram.

- Which laser is used for color selective photo coagulator?

PART – B  (5 x 3 = 15 MARKS)

11.	Classify optical fibers based on refractive index.

12.	Write the principle of Electro Optic Modulators.

13.	Define Q-Switching.

14.	Explain the applications of laser in melting.

15.	Mention the application of Holographic Interferometers.

PART – C  (5 x 15 = 75 MARKS)

16.	Explain with necessary diagrams the different types of fibers and their properties.

(OR)

17.	Explain with a neat sketch the construction and working of LED.

18.	Describe how the optical fibers are used for measurement of pressure, temperature with 	necessary diagrams.

(OR)

19.	Explain in detail about the fiber sensors that are used for measurement of strain, liquid level.

20.	Explain three level and four level Lasers with necessary diagram.

(OR)

21.	Explain in detail the construction and working of semiconductor laser with necessary diagram.

22.	Explain in detail the Laser, which are used for measurement of distance and length.

(OR)

23.	Explain in detail about the application of Laser in welding and melting.

24.	Explain in detail about any two medical application of Laser.

(OR)

25.	Describe the Holographic procedures used in non destructive testing of engineering 	components.